{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":25,"n_cols":5,"rows_kept":25,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","BRC1H81W"]
[]
[]
[]
[]
["","","","","BRC1H81W."]
["Компл.","Материал","","","Картово табло"]
["","тегло","","kg","0.0850"]
["Околна температура","Относителна влажност <","","%","95"]
["Размери","Комплектовано тяло","Широчина","мм","217"]
["","","Височина","мм","50"]
["","","Дълбочина","мм","161"]
["","Тяло","Широчина","мм","85"]
["","","Дълбочина","мм","25"]
["","","Височина","мм","85"]
["Корпус","Покритие на бутон","","","Не"]
["","Цвят","","","Бяло"]
["","Работен светодиод","Цвят","","Blue status indicator"]
["LCD","Тип","","","100 x 150 dots"]
["","Фонова светлина","Цвят","","Бял"]
["","Размери","Широчина","мм","28.0"]
["","","Височина","мм","40.7"]
["Тегло","Комплектовано тяло","","kg","0.317"]
["","Тяло","","kg","0.110"]
["Кабелни връзки","Дължина на проводниците","Макс.","м","500"]