{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":47,"n_cols":9,"rows_kept":47,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FBA-A"]
[]
[]
[]
[]
["","","","","","FBA35A2VEB","FBA50A2VEB","FBA60A2VEB","FBA71A2VEB"]
["Ниво на звуково налягане","Отопление","","Висок","дБА","37.0","37.0","31.0","31.0"]
["","","","Среден","дБА","34.0","34.0","28.0","28.0"]
["","","","Ниско","дБА","29.0","29.0","25.0","25.0"]
["","Охлаждане","","Среден","дБА","32.0","32.0","28.0","28.0"]
["","","","Ниско","дБА","29.0","29.0","25.0","25.0"]
["","","","Висок","дБА","35.0","35.0","30.0","30.0"]
["Стандартни аксесоари","Ръководство за работа","","","","1","1","1","1"]
["","Ръководство за монтаж","","","","1","1","1","1"]
["","Маркуч за източване","","","","1","1","1","1"]
["","Метална скоба за източващия маркуч","","","","1","1","1","1"]
["","Шайба за скоба за окачване","","","","8","8","8","8"]
["","Винтове","","","","40","40","40","40"]
["","Изолация за фитинг","","","","2","2","2","2"]
["","Уплътняващи тампони","","","","5","5","5","5"]
["","Скоби","","","","4","4","4","4"]
["Системи за управление","Жично дистанционно управление","","","","BRC1D528, BRC1E53A7, BRC1E53B7, BRC1E53C7","BRC1D528, BRC1E53A7, BRC1E53B7, BRC1E53C7","BRC1D528, BRC1E53A7, BRC1E53B7, BRC1E53C7","BRC1D528, BRC1E53A7, BRC1E53B7, BRC1E53C7"]
["","Infrared remote control","","","","BRC4C65, BRC4C66","BRC4C65, BRC4C66","BRC4C65, BRC4C66","BRC4C65, BRC4C66"]
["Тръбни връзки","Tечност","","Вън. д.","мм","6.35","6.35","6.35","9.52"]
["","Газ","","Вън. д.","мм","9.52","12.70","12.70","15.90"]
["","Дренаж","","","","VP20 (I.D. 20/O.D. 26)","VP20 (I.D. 20/O.D. 26)","VP20 (I.D. 20/O.D. 26)","VP20 (I.D. 20/O.D. 26)"]
["Sound power level","Охлаждане","","","дБА","60","60","56","56"]
["Размери","Тяло","","Широчина","мм","700","700","1,000","1,000"]
["","","","Дълбочина","мм","800","800","800","800"]
["","","","Височина","мм","245","245","245","245"]
["Корпус","Материал","","","","Галванизирана стоманена пластина","Галванизирана стоманена пластина","Галванизирана стоманена пластина","Галванизирана стоманена пластина"]
["","Цвят","","","","Небоядисан (галванизиран)","Небоядисан (галванизиран)","Небоядисан (галванизиран)","Небоядисан (галванизиран)"]
["Тегло","Тяло","","","kg","28.0","28.0","35.0","35.0"]
["Вентилатор","Външно статично налягане","","Високо","Pa","150","150","150","150"]
["","","","Ном.","Pa","30","30","30","30"]
["","Скорост на въздушния поток","Отопление","Висок","м³/мин","15.0","15.0","18.0","18.0"]
["","","","Ниско","м³/мин","10.5","10.5","12.5","12.5"]
["","","","Среден","м³/мин","12.5","12.5","15.0","15.0"]
["","","Охлаждане","Ниско","м³/мин","10.5","10.5","12.5","12.5"]
["","","","Среден","м³/мин","12.5","12.5","15.0","15.0"]
["","","","Висок","м³/мин","15.0","15.0","18.0","18.0"]
["Височина за източване","мм","","","","625","625","625","625"]
["Power supply","Фаза","","","","1~","1~","1~","1~"]
["","Честота","","","Хц","50/60","50/60","50/60","50/60"]
["","Напрежение","","","V","220-240/220","220-240/220","220-240/220","220-240/220"]
["Забележки","","","","","(1) - Нивото на силата на звука е абсолютна стойност, която означава силата на звука, който източникът на звук генерира.","(1) - Нивото на силата на звука е абсолютна стойност, която означава силата на звука, който източникът на звук генерира.","(1) - Нивото на силата на звука е абсолютна стойност, която означава силата на звука, който източникът на звук генерира.","(1) - Нивото на силата на звука е абсолютна стойност, която означава силата на звука, който източникът на звук генерира."]
["","","","","","(2) - Вж. отделния чертеж за електрическите схеми","(2) - Вж. отделния чертеж за електрическите схеми","(2) - Вж. отделния чертеж за електрическите схеми","(2) - Вж. отделния чертеж за електрическите схеми"]