{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":20,"n_cols":6,"rows_kept":20,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FCAG-B / RXS-L"]
[]
[]
[]
[]
["","","","","FCAG50BVEB / RXS50L2V1B","FCAG60BVEB / RXS60L2V1B"]
["Капацитет на охлаждане","Ном.","","kW","5.00","5.70"]
["Топлинен капацитет","Ном.","","kW","6.00","7.00"]
["Номинална ефективност","Годишен разход на енергия","","kWh","705","820"]
["","COP","","","3.70","3.52"]
["","EER","","","3.55","3.48"]
["","Директива за обозначаване на енергийната ефективност:","Охлаждане","","A","A"]
["","","Отопление","","A","B"]
["Тръбни връзки","Дренаж","вън. д.","мм","VP25 (Външен диам. 32, вътр. диам. 25)","VP25 (Външен диам. 32, вътр. диам. 25)"]
["","Газ","Вън. д.","мм","12.70","12.70"]
["","Tечност","Вън. д.","мм","6.35","6.35"]
["Забележки","","","","(1) - При нормална работа: +22°C / + 32°C","(1) - При нормална работа: +22°C / + 32°C"]
["","","","","(2) - Номиналният капацитет за загряване важи за: вътрешна температура: 20°C (сух термометър), външна температура: 7°C (сух термометър), 8°C (влажен термометър), съответна дължина на тръбите: 5 м, денивелация: 0m.","(2) - Номиналният капацитет за загряване важи за: вътрешна температура: 20°C (сух термометър), външна температура: 7°C (сух термометър), 8°C (влажен термометър), съответна дължина на тръбите: 5 м, денивелация: 0m."]
["","","","","(3) - Вж. отделния чертеж за работен диапазон","(3) - Вж. отделния чертеж за работен диапазон"]
["","","","","(4) - Вж. отделния чертеж за електрическите схеми","(4) - Вж. отделния чертеж за електрическите схеми"]