{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":51,"n_cols":10,"rows_kept":51,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXJ-AS"]
[]
[]
[]
[]
["","","","","","FTXJ20A2V1BS","FTXJ25A2V1BS","FTXJ35A2V1BS","FTXJ42A2V1BS","FTXJ50A2V1BS"]
["Входяща мощност","Охлаждане","","Ном.","kW","0.02","0.022","0.024","0.028","0.031"]
["","Отопление","","Ном.","kW","0.021","0.022","0.024","0.036","0.039"]
["Корпус","Цвят","","","","Сребро","Сребро","Сребро","Сребро","Сребро"]
["Размери","Тяло","","Височина","мм","305","305","305","305","305"]
["","","","Широчина","мм","900","900","900","900","900"]
["","","","Дълбочина","мм","212","212","212","212","212"]
["Тегло","Тяло","","","кг","12","12","12","12","12"]
["Вентилатор","Скорост на въздушния поток","Охлаждане","Висок","м³/мин","11","11.4","11.8","13","13.5"]
["","Дебит на въздушен поток","Охлаждане","Среден","м³/мин","8.4","8.6","8.6","9.5","10.4"]
["","","","Ниско","м³/мин","6","6","6","7.2","7.6"]
["","","","Тих режим","м³/мин","4.6","4.6","4.6","4.6","5.2"]
["","","Отопление","Висок","м³/мин","11.1","11.3","11.7","14.4","15.0"]
["","Дебит на въздушен поток","Отопление","Среден","м³/мин","8.7","9","9","10.5","11.1"]
["","","Отопление","Ниско","м³/мин","6.4","6.4","6.4","7.7","8.2"]
["","","","Вентилатор-=-Скорост на въздушния поток-=-Отопление-=-Тих режим-=-м³/мин","м³/мин","4.6","4.6","4.6","5.2","5.7"]
["Звукова мощност","Охлаждане","","","dBA","57","57","60","60","60"]
["Ниво на звуково налягане","Охлаждане","","Висок","dBA","39","40","41","45","46"]
["","","","Среден","dBA","32","33","33","37","39"]
["","","","Ниско","dBA","25","25","25","29","31"]
["","","","Тих режим","dBA","19","19","19","21","24"]
["","Отопление","","Висок","dBA","39","40","41","45","46"]
["","","","Среден","dBA","32","33","33","37","42"]
["","","","Ниво на звуково налягане-=-Отопление-=-Ниско-=-dBA","dBA","25","25","25","29","33"]
["","","","Тих режим","dBA","19","19","19","21","24"]
["Хладилен агент","Потенциал на глобално затопляне","","","","675","675","675","675","675"]
["Тръбни съединения","Tечност","","Вън. д.","мм","6.35","6.35","6.35","6.35","6.35"]
["","Газ","","Вън. д.","мм","9.5","9.5","9.5","12.7","12.7"]
["","Дренаж","","","","18","18","18","18","18"]
["Системи за управление","Infrared remote control","","","","ARC488A1S","ARC488A1S","ARC488A1S","ARC488A1S","ARC488A1S"]
["Системи за управление","Жично дистанционно управление","","","","BRC073A1","BRC073A1","BRC073A1","BRC073A1","BRC073A1"]
["Стандартни аксесоари","Installation manual","","","","1","1","1","1","1"]
["","Wireless remote control","","","","1","1","1","1","1"]
["","Screw cover","","","","2","2","2","2","2"]
["","AAA dry-cell batteries","","","","2","2","2","2","2"]
["","General safety precautions","","","","1","1","1","1","1"]
["","Operation manual","","","","1","1","1","1","1"]
["","Titanium apatite deodorizing filter","","","","1","1","1","1","1"]
["","Silver particle filter","","","","1","1","1","1","1"]
["","Mounting plate","","","","1","1","1","1","1"]
["","Remote control holder","","","","1","1","1","1","1"]
["","Screw bag","","","","1","1","1","1","1"]
["Електрозахранване","Име","","","","V1","V1","V1","V1","V1"]
["","Фаза","","","","1~","1~","1~","1~","1~"]
["","Честота","","","Хц","50","50","50","50","50"]
["","Напрежение","","","V","220-240","220-240","220-240","220-240","220-240"]