{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":26,"n_cols":5,"rows_kept":26,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","WLTRH"]
[]
[]
[]
[]
["","","","","WLTRH."]
["Максимален брой вътрешни тела, които могат да се свързват","","","","0"]
["Максимален брой външни тела, които могат да се свързват @","","","","0"]
["Корпус","Цвят","","","Бяло"]
["","Покритие на бутон","","","Не"]
["","Работен светодиод","Цвят","","Зелено"]
["Размери","Тяло","Височина","мм","75"]
["","","Широчина","мм","60.0"]
["","","Дълбочина","мм","25.0"]
["","Комплектовано тяло","Височина","мм","380"]
["","","Широчина","мм","305"]
["","","Дълбочина","мм","195"]
["Тегло","Тяло","","кг","0.036"]
["Компл.","Материал","","","Картово табло"]
["","тегло","","кг","0.0084"]
["Температура на околната среда","Работа","Мин.","°C","-10"]
["","","Макс.","°C","50"]
["","Съхранение","Мин.","°C","-10"]
["","","Макс.","°C","50"]
["","Температура на околната среда-=-Относителна влажност <-=-%","","%","100"]
["Инсталация","","","","Вътрешен монтаж"]